## Sheet1
Measurement | Cadence | Resolution | Priority | Comments
Full Disk(Vector)magnetograms | 10 mins | 30 arcsec | 1 | PR: LOS is fine, based on current modeling. FZ: I would say at least MDI resolution if possible for a model fitting (see Manolis question of yesterday). Regarding the cadence do we really need 10 mins ?
Coronagraphic images | 10 min | 1-2" | 1 | PR: Useful for ejecta-fitting models (e.g., cone model) PP: L5 POS white light images would be essential to recalibrate model parameters to improve prediction capabilites and to catch CMEs elusive to models. Polarized light would futher improve accuracy on mass and propagation of CMEs.
HI | HI 1 cadence | Hi 1 resolution | 1 | RP: West limb HI (calibration of forecasting models, not only real-time monitoring)
X-ray Images | ? | ? | 3 | PR: For prediction verification, data "assimilation". Anticipating their use. Not demonstrated yet.
In situ Thermal plasma | 30 sec. | n/a | 2 | PR: Gives warning for recurrent phenomena, also selection of model ensembles
In situ magnetic field | 30 sec. | n/a | 2 | PR: Gives warning for recurrent phenomena, also selection of model ensembles TL: Could go to 10 seconds to support SEP transport parameters
In situ energetic particles | 1 minute | dE/E~0.2-0.4 e, p 2-4 directions | 2 | TL: Preliminary numbers, from beacon data of various missions. This is not instrument resolution capability (much better from heritage) but beacon data product output resolution. Note: proton heritage up to 500 MeV from GOES and Voyager CRS
In situ composition | ? | n/a | 3 | PR: No good operational justification, but if science piggybacking on mission. RP: science piggybacking, but could maybe be used to check correctness of models (e.g wind heating/accel.)
Radio | ? | ? | 10 | PR: Only included because of Mario's presentation. Can't see operational modeling justification.
EUV images | 10 mins | 2 arcsec | 2 | FZ: To reconstruct the filament and identify the sigmoids (at least 2 wavelengths 304 & 193 ?)
JC: L5 coronagraphic position-time data down to about 2-2.5 Rs would yield CME magnetic field Bcme, Vcme, size_cme at 1AU 24-48 hrs advance warning time--essential for forecasting CME-driven storms and major advantage of L5; L1 EUV images essential for source location; EUV images (2-D time series) would yield inner coronal dynamics if coronagraph data not available or outages occur--essential for large CME-driven storm forecasting (3-D ionospheric disturbances); current COR1/2 and Hi1 resolution (time and space) sufficient; changed priority to 1 for prediction of storms in 3D; priority of EUV images is 2 if coronagraph datra available down to 2.5 Rs but should be 1 not; priority for in situ thermal plasma and B field changed to 2 for forecasting storms; 1 for science.